## Sheet1
Site - <Please type site name>
Client workstations information
Sr No | Client Name | IP Address | Operating system used | Is OS 32 bit or 64 bit? | RAM / memory | Number of processor cores | Processor | Number of network cards | Do all network cards have gigabit support? | Do all network cards installed with PCI Express interface? | Graphics card information, if available | Number of monitors available | Number of live videos to be displayed in each monitor | Number of servers the client connects to | List of servers the client connects to | TightVNC connection password | High resolution video window thresholds set | Site hand over checklist processed?
Comments | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Design point | Configuration point | Configuration point | Configuration point
Assigned to ->
1 | (Dummy - example entry) | 192.168.2.222 | Windows 7 Professional | 64 bit | 4 GB | 4 | Intel(R) I7 | 1 | Yes | No. On board. | NVIDIA Quadro K2000, 2048 MB | 2 | (a) Monitor 1 - 25, (b) Minitor 2 - 16 | 2 | (a) 192.168.1.201, (b) 192.168.1.204 | myPass | No | No