## Sheet1
Inputs required for analysis and proposal for a new project (Server based VMS solution)
Note 1 - please update the values only in cells marked in yellow color
Note 2 - the yellow marked cells have 'sample' values filled up as example. Please delete all sample values to avoid possible confusion
Note 3 - move mouse cursor over cells marked in blue color, to view the comments / help text
[A] | Cameras
|  | Type 1 | Type 2 | <More>
| Description | 2 megapixel cameras | 4K cameras | NA
| Camera make and model | Make 1 | Make 2 | NA
| Total number of cameras | 78 | 18 | NA
| Number of cameras for which Server based Video Analytics (Intrusion, trip-wire, un-attended object etc) will be enabled | 22 | 7 | NA
| Number of cameras for which Camera based Video Analytics (edge analytics) will be enabled | 10 | 0 | NA
| Recording stream resolution | 1920X1080 | 8 megapixel | NA
| Recording stream FPS | 25 | 15 | NA
| Recording stream encoding | H.264 | H.264 | NA
| Recording stream bitrate | 3000 | Not specified | NA
| Display stream resolution | 1920X1080 | Not specified | NA
| Display stream FPS | 25 | Not specified | NA
| Display stream encoding | H.264 | H.264 | NA
| Display stream bitrate | 3000 | Not specified | NA
| Number of cameras for which 'Device internal storage data synchronization (eg camera SD card video synchronization)' feature will be enabled | 1 | 0 | NA
| Number of cameras for which Server based 'Fire and smoke detection' feature will be enabled | 1 | 0 | NA
| Number of cameras for which Server based 'Face detection' feature will be enabled | 0 | 2 | NA
[B] | Recording mode
| Recording mode - continuous / scheduled / alarm based / custom | Continuous
| If scheduled recording, how many hours of recording is expected per day, on average | NA
| If alarm based recording, what is the expected alarm frequency percentage eg - 2%, 10%, 50% etc (The recording will happen for time indicated by this percentage eg recording will happen for 10% of the total time, when alarm generation frequency is set as 10%) | NA
| If custom recording, please mention the details | NA
[C] | Main server(s) hardware
| Primary recording - Recording duration expected - 07 days / 15 days / 30 days / any other | 30 days
| Primary recording - Storage device expected to be used for primary recording - Local hard disk(s) in server computer / Direct Attached Storage / Network storage | Network storage
| Primary recording - Minimum storage space (in TB), as per project specifications / BoQ | Not specified
| Minimum number of main server computers, as per project specifications / BoQ | Not specified
[D] | Failover management server(s)
| Is failover management feature needed - Yes / No | Yes
| Specified failover configuration eg 1:5 / 1:2 / 1:1 / any other (eg - 1:5 indicates one failover server used for monitoring 5 main servers) | 1:5
| Maximum failure duration expected - 1 day / 3 days / 7 days / any other | 5 days
| Storage device (Failover recording) - Storage device expected to be used for failover recording - Local hard disk(s) in server computer / Direct Attached Storage / Network storage | Local hard disk(s) in server computer
| Failover recording - Minimum storage space (in TB), as per project specifications / BoQ | Not specified
| Minimum number of failover server computers, as per project specifications / BoQ | Not specified
[E] | Redundant recording server(s)
| Is redundant recording feature needed - Yes / No | No
| Redundant recoding duration expected - 07 days / 15 days / 30 days / any other | NA
| Storage device (Redundant recording) - Storage device expected to be used for redundant recording - Local hard disk(s) in server computer / Direct Attached Storage / Network storage | Network storage
| Redundant recording - Minimum storage space (in TB), as per project specifications / BoQ | Not specified
[F] | Storage
| If network storage device(s) are planned to be used, number of storage device units | 1
[G] | Client workstations
|  | Location 1 | Location 2 | <More>
| Total number of cameras accessible from this location | 96 | NA | NA
| Number of monitors expected to be used for live video display | 6 | NA | NA
| Number of live videos to be displayed in each monitor used for live video display | 16 | NA | NA
| Number of monitors expected to be used for control, management, report generation, investigation and export etc | 2 | NA | NA
| Number of active operator personnel | 2 | NA | NA
[H] | Warranty / Software Assurance
| Expected warranty / Software Assurance, in number of years | 3 years
[I] | Add-ons required
| Data archive - Yes / No | No
| Tape library back up - Yes / No | No
| Tape library archive - Yes / No | No
| Secondary storage - Yes / No (if yes, please also mention the required recording duration, in number of days, for secondary storage recording) | No
| HTTPS support - Yes / No | No
| Advanced jitter removal - Yes / No | No
| iOS client app - Yes / No | No
| SDK/API interface - Yes / No | No
| External alarm sources - Count | 0
| Custom integration with external systems / devices - Yes / No | No
[J] | Special / custom requirements (Note - any requirement outside the VMS software datasheet is 'special / custom project requirement')
| Requirement 1 | NA
| Requirement 2 | NA
| <More> | NA
Note on C9: Author: Can be any text which explains the type / category of the camera w.r.t current project requirement being analyzed
Note on C10: Author: It is recommended to mention camera make and model. This will help in validating the camera against the project requirements as well as VMS architecture
Note on C12: Author: This value can never be more than 'total number of cameras'. This value mentions the camera count from within 'Total number of cameras' for which VA feature will be enabled for VA processing on server computer
Note on C13: Author: This value can never be more than 'total number of cameras'. This value mentions the camera count from within 'Total number of cameras' for which VA feature will be enabled for VA processing from camera (edge analytics). The alarms will be processed and generated at the edge (camera), and will be captured by the VMS software
Note on C17: Author: Mention value if specified in project requirement, otherwise mark 'Not specified'
Note on C18: Author: Mention the value, if available in project requirements. Otherwise mark as 'Not specified'
Note on C19: Author: Mention the value, if available in project requirements. Otherwise mark as 'Not specified'
Note on C21: Author: Mention value if specified in project requirement, otherwise mark 'Not specified'
Note on C22: Author: This value can never be more than 'total number of cameras'. This value mentions the camera count from within 'Total number of cameras' for which 'Device internal storage data synchronization (eg camera SD card video synchronization)' feature will be enabled for processing on server computer
Note on C23: Author: This value can never be more than 'total number of cameras'. This value mentions the camera count from within 'Total number of cameras' for which 'Fire and smoke detection' feature will be enabled for processing on server computer
Note on C24: Author: This value can never be more than 'total number of cameras'. This value mentions the camera count from within 'Total number of cameras' for which 'Face detection' feature will be enabled for processing on server computer
Note on C28: Author: Specify the value, only if recording mode is 'Scheduled'. Otherwise mark as NA
Note on C29: Author: Specify the value, only if recording mode is 'Alarm based'. Otherwise mark as NA
Note on C30: Author: If custom recording mode is required, please mention the details here. Otherwise mark as NA
Note on C35: Author: Mention value if specified in project requirement / project BoQ, otherwise mention 'Not specified'
Note on C36: Author: Mention value if specified in project requirement / project BoQ, otherwise mention 'Not specified'
Note on C40: Author: Please mark as NA, if failover management fetaure is not required
Note on C41: Author: Please mark as NA, if failover management fetaure is not required
Note on C43: Author: Mention value if specified in project requirement / project BoQ, otherwise mention 'Not specified'
Note on C44: Author: Mention value if specified in project requirement / project BoQ, otherwise mention 'Not specified'
Note on C48: Author: Please mark as NA, if redundant recording fetaure is not required
Note on C50: Author: Mention value if specified in project requirement / project BoQ, otherwise mention 'Not specified'
Note on C53: Author: If network storage device is not planned to be used, please mention 'Not applicable', otherwise specify number of network storage device units planned to be used
Note on C57: Author: For simple project requirements, each client workstation location would have access to all cameras in the system, hence in such cases this value will be same as total number of cameras in the system
Note on C67: Author: Data archive: Moving recorded data to another location, after pre-defined number of days
Note on C68: Author: Tape library back up: Copying recorded data to another location for access from 3rd party tape library system
Note on C69: Author: Tape library archive: Moving recorded data to another location for access from 3rd party tape library system
Note on C70: Author: Secondary storage: Copy of recorded data to another location, to have 2 copies of recorded data If yes, please specify the recording duration (in number of days) expected for the secondary storage recording
Note on C71: Author: HTTPS support: Whether HTTPS access is required for web browser clients
Note on C72: Author: Advanced jitter removal: If it is not possible to elimnate network jitter from network side, 'Advanced jitter removal' can be enabled from VMS, at the expense of additional hardware resources
Note on C73: Author: iOS client app: Whether iOS client app (for iPhone, iPad etc) is expected to be used
Note on C74: Author: SDK/API interface: Whether any external applications are expected to connect to the VMS software, through SDK/API shared by the VMS software manufacturer
Note on C75: Author: External alarm sources: If VMS software is expected to capture alarms generated by external systems / devices (except for the alarms generated by cameras), e.g. MODBUS slave devices, access control systems, building management systems etc; please specify the number of devices from which VMS software is expected to capture alarms Note - integration in scope of the external system / device manufacturer, using VMS software SDK/API
Note on C76: Author: Custom integration with external systems / devices: Whether custom integration is expected with external systems / devices (except for cameras) If yes, please specify the make and model number for each of the external systems / cameras
Note on C79: Author: Please mention special / custom project requirements, if any. Otherwise mark NA. Note - any requirement outside the VMS software datasheet is 'special / custom project requirement'
Note on C80: Author: Please mention special / custom project requirements, if any. Otherwise mark NA. Note - any requirement outside the VMS software datasheet is 'special / custom project requirement'
Note on C81: Author: Add more rows for additional special / custom requirements Note - any requirement outside the VMS software datasheet is 'special / custom project requirement'
Note on F7: Author: Add more columns if more type of cameras exist in this project requirement
Note on F55: Author: Add more columns if more locations exist in this project requirement